## Sheet1
ADDRESS: | [7 empty] | TRACE#:
DATE: | [7 empty] | LOT SIZE:
MANDATORY PROVISIONS
Street Buffer Zone (SBZ) - Must have one 3" caliper large or medium tree per 40' of street frontage, except when existing conditions allow two small trees to substitute for each required tree. All street trees must be provided along the entire length of the lot, excluding paved surfaces at points of ingress/egress, and within an area measured from the property boundary, unless authorized for distance from the street curb.
lf
| Trees |  |  | Right-of-way |  |  |  |  | Average Depth | Min. Depth | Max. Depth
|  | Required |  |  | Freeways |  |  |  | 15 FT | 5 FT | 50 FT
|  | Provided |  |  | Arterials & community collectors |  |  |  | 10 FT | 5 FT | 30 FT
[5 empty] | Local & residential collectors |  |  |  | 7.5 FT | 5 FT | 25 FT
Urban Streetscape – (Option) If approved, must have a six-feet wide planting area of open soil and covered soil conditions. A minimum of one design option must be provided in the front yard or right-of-way area.
Right-of-Way – (Option) May be used for SBZ, if qualified. Must provide SBZ area of a minimum of 5’ depth on the property.
ARBORIST:
Residential Buffer Zone (RBZ) - Must be provided along the entire length of the portion of the perimeter of the lot where a residential adjacency exists, with an average depth of 10’ or greater, minimum depth of 5’, and maximum depth of 30’. Must include one plant group per 40’ of adjacency, except when existing local utility conditions allow two small trees to substitute for each required tree, and excluding paved points of ingress/egress.
lf
Screening is not required
Screening is required: Plant group is: Non-Canopy Trees
One large or medium tree and three small trees;
One large or medium tree and three large evergreen shrubs;
One large and medium tree, two small trees, and one large evergreen shrub; or
One large or medium tree, one small tree, and two large evergreen shrubs.
ARBORIST
Interior Zone – All required large and medium trees must be a minimum of 3” caliper. Minimum landscape area is 160 sf, with a minimum soil width of 8 feet. The center of trunk must be a minimum of 4 feet from pavement.
21 to 100 parking spaces. No parking space may be located more than 70 feet from the trunk of a large/medium tree.
101 or more parking spaces. Same as above, except for parking lots in IM or IR districts with industrial and warehouse uses. Landscape area is required at end of each single row of parking spaces with a minimum of one tree, the maximum number of parking spaces between islands is 12, but no maximum number of parking spaces in a row when it abuts a median landscape area, a residential buffer zone landscape area, or a street buffer zone landscape area.
ARBORIST
Screening of off-street loading spaces-Must be screened from residential adjacency. Must also be screened from all adjacent public streets, except CS and industrial districts. Minimum 6' height.
Site trees
sf |  | Standard - Must have one 2" caliper tree per 4,000 square feet of lot area with minimum of 4 trees. All site trees must be located on the lot.
Required
Provided
IM and IR zoning - Must have one 2” caliper tree per 6,000 square feet, when contains industrial or warehouse uses. contains industrial or warehouse uses.
Required
Provided
ARBORIST
LANDSCAPE DESIGN OPTIONS
Points are required for each building site. The minimum number of design option points required for a building site:
| Pts. | Lot Size |  |  |  | Points required (Ex.: a 4500 sf. lot requires 4 points to be obtained)
|  | 0 to 999 sf |  |  |  |  | 0
|  | 1,000 sf to 1,999 sf |  |  |  |  | 1
|  | 2,000 sf to 9,999 sf |  |  |  |  | 2--9
(One point for every 1000 sf)
|  | 10,000 sf to 19,999 sf |  |  |  |  | 10
|  | 20,000 sf to 39,999 sf |  |  |  |  | 15
|  | 40,000 sf to 2.99 acres |  |  |  |  | 20
|  | 3 acres to 9.99 acres |  |  |  |  | 30
|  | 10 acres to 19.99 acres |  |  |  |  | 35
|  | 20 acres to 49.99 acres |  |  |  |  | 40
|  | 50 acres and greater |  |  |  |  | 50
ARBORIST
0 | (1) Plant material bonus – 5 points maximum – Plant materials added to the landscape design when the required amount of points for a standard design option is deficient by five points or less. All plant material must be placed in the front yard. Select this bonus option after reviewing and selecting from options 2-11. | [10 empty] | 0
|  |  | Added: |  |  |  |  | Qty.
|  | 0 | Small tree 0.5 pts.;
|  | 0 | Large shrub 0.25 pts.;
|  | 0 | Large/medium tree 1 pt.
|  | 0 | Large/medium tree cal. Increase
0 | (2) Buffer zone enhancements - 20 points max. – Each required buffer zone depth may be increased by a min. number of feet. It is not available where the street buffer zone is reduced to no more than 5% of lot area. | [10 empty] | 0
Options:
Large enhanced buffer zone (5 feet): 5 pts.
Small enhanced buffer zone (2 feet): 2 pts.
0 | (3) Engineered solutions for soil volume – 10 points maximum - Use engineered solutions for providing soil volume for a minimum of 75% of required street buffer trees. | [10 empty] | 0
Options:
Minimum required soil volume, 5 pts.;
increase 10% above minimum requirements, 6 pts.;
+ 15%, 7 pts.;
+ 20%, 8 pts.;
+ 25%, 9 pts.;
+ 30% or more, 10 pts.
0 | (4) Screening – 20 points maximum. Screen all parking lots on the lot along the entire adjacent public street frontages on a building site or artificial lot, excluding driveways and visibility triangles. Screening must be voluntary. | [10 empty] | 0
Options:
| 1) |  | Standard design (shrub ht. min. of 2’ at installation), 5 pts.;
| 2) |  | Enhanced design*, 10 pts.;
| 3) |  | Grouped beds, 5 pts.**;
| 4) |  | Screening wall or fence (min. ht. of 3’), 5 pts.**;
| 5) |  | Berm (min. ht. of 3’), 5 pts.**
(* - landscape architect required; ** - may complement option 1 or 2)
Screening is mandatory in NO(A), LO(A), LO-1, LO-2, LO-3, MO(A), MO-1, MO-2 and GO(A) districts.
0 | (5) Building facade – 15 points maximum. Facade planting areas adjacent to public streets or private driveways. | [10 empty] | 0
Options:
| 1) |  | Standard design, 5 pts.;
| 2) |  | Enhanced design*, 10 pts.;
| 3) |  | Additional grouping of medium/small trees, 5 pts.;
| 4) |  | One small tree per 30 ft. within 15 feet of facade, 5 pts.
0 | (6) Pedestrian uses - 25 points maximum. Provide private or publicly accessible pedestrian facilities for at least 5% of the building site. | [10 empty] | 0
Options:
| 1) |  | Urban streetscape (minimum of 2 amenity types): 10 pts.
Benches;
Lamps;
Enhanced sidewalk (not available for option 7);
8-ft. Unobstructed sidewalk;
Water feature;
| 2) |  | Special amenities in building site, 5 pts. (private), 10 pts. (public);
| 3) |  | Habitat restoration adjacency, 10 pts. (private), 15 pts. (public);
| 4) |  | Athletic fields, 10 pts., or 20 pts. (on lots over 10 acres).
0 | (7) Pavements – 15 points maximum. Provide enhanced or special pavement to a minimum of 25% of all outdoor vehicular pavement, or 5% pedestrian-use pavement, on the lot, as applicable. | [10 empty] | 0
Options:
| 1) |  | Enhanced vehicular pavement: Texture 3 pts., Color 3 pts.;
| 2) |  | Permeable vehicular pavement, 5 pts.;
| 3) |  | Enhanced pedestrian walkways: Texture 3 pts., Color 3 pts.
0 | (8) Conservation – 25 points maximum. Provide conservation programs on the property. It must occupy at least 5% of the lot area. | [10 empty] | 0
Options:
| 1) |  | Tree preservation in development impact area, 2 pts. for each tree up to 10 pts.;
| 2) |  | Habitat preservation and restoration (native grassland or woodland), 5 pts.;
| 3) |  | Habitat preservation and restoration – active management plan, 10 pts.;
| 4) |  | Habitat preservation and restoration – adjacent to primary natural areas, 15 pts.
0 | (9) Low Impact Development – 20 points maximum. Improve the property with design to manage stormwater flow and provide surface heat abatement. | [10 empty] | 0
Options:
| 1) |  | Rain garden, max. 6 pts.;
| 2) |  | Bioswale, max. 10 pts.;
| 3) |  | Water-wise plant materials and planting beds; max. 10 pts.
0 | (10) Parking Lots – 30 points max. for DIA 10 acres or larger; 20 points max. for DIA less than 10 acres. | [10 empty] | 0
Options:
| 1) |  | Pedestrian pathway, 5 pts.;
| 2) |  | Parking islands – maximum of 10 parking spaces between landscape islands, 5 pts.;
| 3) |  | Parking islands - increase landscape area a minimum of 200 sf for each large/medium tree.
+50% of required islands, 5 pts.
+75% of required islands, 10 pts.
| 4) |  | Parking islands - increase landscape area a minimum of 300 sf for each large/medium tree.
+50% of required islands, 7 pts.
+75% of required islands, 12 pts.
| 5) |  | Parking islands – each additional parking island provided, 3 pts.
| 6) |  | Landscape medians – provide a minimum of 10 ft. wide landscape median with large/medium trees for a minimum of a 12 space parking row, 5 pts.
| 7) |  | Landscape medians – provide a minimum of 12 ft. wide landscape median with large/medium trees for a minimum of 12 space parking row, 10 pts. for each full median for a maximum of 20 points on the lot.
| 8) |  | Landscape medians – provide a minimum of 16 ft. wide landscape median with large/medium trees for a minimum of 12 space parking row, 15 pts. for each full median for a maximum of 30 points on the lot.
| 9) |  | Large trees located in minimum of 500 sf dedicated open soil area, 2 pts. for maximum of 20 pts.
| 10) |  | Pocket park. Provide a minimum of 2,500 sf of contiguous open soil surface area, 20 pts.
0 | (11) General – Provide documentation and demonstrate ability to achieve any of the following conditions. | [10 empty] | 0
Options:
| 1) |  | Provide SITES (Sustainable Sites Initiative) documentation and demonstrate ability to attain SITES certified level (70 points) or greater, 10 pts.
| 2) |  | Provide and implement a landscape maintenance plan for a minimum of a 3 year period, 3 pts.
0 | TOTAL POINTS |  |  |  | 0 |  | REQUIRED POINTS
Q&A:
Jaclyn Clark Szafranic / Edited: Philip Erwin 4/26/19